## CodeSpaces
CodeSpace ID | Action | Description
MAM | add | Main repository for all Marine Asset Management Code and CodeSet objects.

## Codes
CodeSpace ID | Action | Code ID | Description
MAM | add | Instrument
MAM | add | Platform
MAM | add | RSN Primary cable
MAM | add | RSN Extension cable
MAM | add | Anchor
MAM | add | Mooring riser component
MAM | add | Telemetry component
MAM | add | Power system component
MAM | add | Platform control component
MAM | add | Stretch hose
MAM | add | Iridium SIM card
MAM | add | cruise kit
MAM | add | winch
MAM | add | Wire Following Profiler
MAM | add | Return to Manufacturer Event
MAM | add | Deployment Event
MAM | add | Repair Event
MAM | add | Inoperability Event
MAM | add | Retirement Event
MAM | add | Integration Event
MAM | add | Test Event
MAM | add | Calibration Event
MAM | add | Glider
MAM | add | Coastal Surface Piercing Profiler (CSPP) Mooring
MAM | add | Coastal Wire Following Profiler (CWFP)
MAM | add | Global Wire Following Profiler (GWFP)
MAM | add | AUV
MAM | add | Mooring
MAM | add | BEP
MAM | add | LVNode
MAM | add | LP Jbox
MAM | add | MPJ box
MAM | add | A
MAM | add | B
MAM | add | C
MAM | add | D
MAM | add | E
MAM | add | F
MAM | add | G
MAM | add | H
MAM | add | I
MAM | add | J
MAM | add | K
MAM | add | L
MAM | add | M
MAM | add | N
MAM | add | O
MAM | add | P
MAM | add | Q
MAM | add | R
MAM | add | S
MAM | add | T
MAM | add | U
MAM | add | V
MAM | add | W
MAM | add | X
MAM | add | Y
MAM | add | Z
MAM | add | A
MAM | add | B
MAM | add | C
MAM | add | D
MAM | add | E
MAM | add | F
MAM | add | G
MAM | add | H
MAM | add | I
MAM | add | J
MAM | add | K
MAM | add | L
MAM | add | M
MAM | add | N
MAM | add | O
MAM | add | P
MAM | add | Q
MAM | add | R
MAM | add | S
MAM | add | T
MAM | add | U
MAM | add | V
MAM | add | W
MAM | add | X
MAM | add | Y
MAM | add | Z
MAM | add | sell
MAM | add | discard
MAM | add | recycle
MAM | add | repair
MAM | add | calibration
MAM | add | rejection
MAM | add | fully functioning
MAM | add | partially functioning
MAM | add | not functioning
MAM | add | unknown
MAM | add | suspect
MAM | add | complete | ?
MAM | add | incomplete | ?
MAM | add | LBEF | Land Based Evaluation Facility
MAM | add | MSB | Marine Science Building,
MAM | add | OCE | Ocean Sciences Building
MAM | add | UCSD | University of San Diego storage facility
MAM | add | University of Washington | Marine facility RSN
MAM | add | Woods Hole Oceanographic Institution | Marine facility CGSN
MAM | add | University of San Diego | Marine facility
MAM | add | ABCDE | instrument class ABCDE code description
MAM | add | VWXYZ | instrument class VWXYZ code description

## CodeSets
CodeSpace ID | Action | CodeSet ID | Description | Enumeration
MAM | add | asset type | Valid codes for Asset Attribute: asset type. | Instrument,Platform,RSN Primary cable, RSN Extension cable, Anchor, Mooring riser component, Telemetry component, Power system component, Platform control component, Stretch hose, Iridium SIM card, cruise kit, winch, Wire Following Profiler
MAM | add | event type | Valid codes for AssetEvent Attribute: event type. | Return to Manufacturer Event, Deployment Event, Repair Event, Inoperability Event, Retirement Event, Integration Event, Test Event, Calibration Event
MAM | add | platform type code | Valid codes for Asset Attribute: platform type code. | Glider, Coastal Surface Piercing Profiler (CSPP) Mooring,Coastal Wire Following Profiler (CWFP), Global Wire Following Profiler (GWFP),AUV, Mooring, BEP, LVNode, LP Jbox, MPJ box
MAM | add | platform series code | Valid codes for Asset Attribute: platform series code. | A, B, C, D, E, F, G, H, I, J, K, L, M, N, O, P, Q, R, S, T, U, V, W, X, Y, Z
MAM | add | instrument series code | Valid codes for Asset Attribute: instrument series code. | A, B, C, D, E, F, G, H, I, J, K, L, M, N, O, P, Q, R, S, T, U, V, W, X, Y, Z
MAM | add | asset disposition | Valid codes for AssetEvent Retirement attribute: asset disposition | discard, recycle, sell
MAM | add | reason for return | Valid codes for AssetEvent Return to Manufacturer attribute: reason for return. | repair, calibration, rejection
MAM | add | operability status | Valid codes for AssetEvent Inoperability attribute: operability status | fully functioning, partially functioning, not functioning, unknown, suspect
MAM | add | assembly status | Valid codes for AssetEvent Inoperability attribute: operability status | complete, incomplete
MAM | add | location status | Valid codes for Asset current location status. | LBEF, MSB, OCE, UCSD
MAM | add | permanent storage | Valid codes for Asset permanent storage location. | University of Washington, Woods Hole Oceanographic Institution, University of San Diego
MAM | add | instrument class code | Valid codes for Asset Attribute: instrument class code. | ABCDE,VWXYZ

## AssetTypes
Resource ID | Action | Resource Type | Extends | Facility IDS | Concrete Type | Description
Base | add | AssetType |  | MF_CGSN, MF_RSN, MF_EA, MF_3 | False | Contains common attribute specifications for all assets
Device | add | AssetType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | True | Contains attribute specifications for assets of type Device
Platform | add | AssetType | Device | MF_CGSN, MF_RSN, MF_EA, MF_3 | True | Contains attribute specifications for assets of type Platform
Instrument | add | AssetType | Device | MF_CGSN, MF_RSN, MF_EA, MF_3 | True | Contains attribute specifications for assets of type Instrument

## EventTypes
Resource ID | Action | Resource Type | Extends | Facility IDS | Concrete Type | Event Category | Description
Base | add | EventDurationType |  | MF_CGSN, MF_RSN, MF_EA, MF_3 | FALSE |  | Contains common attribute specifications for all event duration events
RTM | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Location | Contains common attribute specifications for all Return To Manufacturer event duration events
Deployment | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Location | Contains common attribute specifications for all Deployment event duration events
Repair | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Location | Contains common attribute specifications for all Repair event duration events
Inoperability | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Operability | Contains common attribute specifications for all Interoperability event duration events
Retirement | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Operability | Contains common attribute specifications for all Retirement event duration events
Integration | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Assembly | Contains common attribute specifications for all Integration event duration events
Test | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Verification | Contains common attribute specifications for all Test event duration events
Calibration | add | EventDurationType | Base | MF_CGSN, MF_RSN, MF_EA, MF_3 | TRUE | Location | Contains common attribute specifications for all Calibration event duration events

## Assets
Resource ID | Action | Resource Type | Implements | Facility IDS | Description
Iridium SIM card | add | Asset | Device | MF_CGSN | Iridium SIM card is a device asset which implements asset type 'Device'.
Pioneer 1 Platform | add | Asset | Platform | MF_RSN | Pioneer 1 is a platform asset which implements asset type 'Platform'.
SBE37SMP instrument | add | Asset | Instrument | MF_EA | SBE37SMP instrument is an instrument asset which implements asset type 'Instrument'; part of the BETA demonstration program.
Instrument 5010 | add | Asset | Instrument | MF_RSN | Instrument 5010 is an instrument asset which implements asset type 'Instrument'.

## Events
Resource ID | Action | Resource Type | Implements | Facility IDS | Description
ReturnToManufacturer | add | EventDuration | RTM | MF_CGSN | Description ReturnToManufacturer event duration which implements event duration type 'RTM'
Deployment | add | EventDuration | Deployment | MF_RSN | Description Deployment event duration which implements event duration type 'Deployment'.
Repair | add | EventDuration | Repair | MF_EA | Description Repair event duration which implements event duration type 'Repair'.
Inoperability | add | EventDuration | Inoperability | MF_3 | Description Inoperability event duration which implements event duration type 'Inoperability'.
Retirement | add | EventDuration | Retirement | MF_CGSN | Description Retirement event duration which implements event duration type 'Retirement'.
Integration | add | EventDuration | Integration | MF_RSN | Description Integration event duration which implements event duration type 'Integration'.
Test | add | EventDuration | Test | MF_EA | Description Test event duration which implements event duration type 'Test'.
Calibration | add | EventDuration | Calibration | MF_3 | Description Calibration event duration which implementsevent duration type 'Calibration'.

## AssetAttributeSpecs
Action | Resource ID | Attribute ID | Group Label | Attribute Label | Attribute Rank | Description | Value Type | Value Pattern | Value Constraints | Default Value | UOM | Cardinality | Visibility | Editable | Journal
add | Base | descr | Identification | description | 1.3 | Asset description. | StringValue | [\w -_]{1,256} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | l_name | Identification | long name | 1.2 | Long name for asset. | StringValue | [\w -]{1,64} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | s_name | Identification | short name | 1.1 | Short name for asset. | StringValue | [\w -]{1,16} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | type | Identification | type | 0.1 | Asset type definition. | CodeValue | [\w -]{1,64} | set=MAM:asset type | Instrument | NONE | 1..1 | TRUE | FALSE | FALSE
add | Base | i_prop_num | Identification | institution property number | 3.1 | Institution property number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | m_name | Identification | manufacturer | 4.1 | Manufacturer name. | StringValue | [\w -]{1,64} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | m_part_num | Identification | manufacturer part number | 4.2 | Manufacturer part number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | m_serial_num | Identification | manufacturer serial number | 4.3 | Manufacturer serial number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | part_num | Identification | part number | 2.2 | OOI assigned part number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | prop_num | Identification | property number | 2.3 | OOI assigned property number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | ref_desig | Identification | reference designator | 2.1 | OOI reference designator - Used for deployed assets only. | StringValue | [\w - \.]{1,64} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | dlv_date | Procurement | delivery date | 2.2 | Delivery date of asset. | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | mm/dd/yyyy | 0..1 | TRUE | TRUE | FALSE
add | Base | dlv_order_num | Procurement | delivery order number | 2.1 | Delivery order number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | exp_date | Procurement | expiration date | 2.3 | Asset expiration date | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | pur_inst | Procurement | purchasing institution | 1.1 | Institution responsible for purchasing the asset. | StringValue | [\w - \.]{1,64} |  | NONE | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | pur_order_num | Procurement | purchase order number | 1.2 | Institution's purchase order number. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | pur_cost | Procurement | purchase price | 1.3 | Asset purchase price. | RealValue | \d*\.?\d* |  | 0.0 | USD | 0..1 | TRUE | TRUE | FALSE
add | Base | pur_date | Procurement | purchase date | 1.4 | Asset purchase date. | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | mm/dd/yyyy | 0..1 | TRUE | TRUE | FALSE
add | Base | depth_rating | Specification | depth rating | 2.1 | Asset depth rating. | RealValue | \d*\.?\d* | min=0.00, max=10923.00 | 0.0 | meters | 0..1 | TRUE | TRUE | FALSE
add | Base | height | Specification | height | 1.3 | Asset height. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | meters | 0..1 | TRUE | TRUE | FALSE
add | Base | length | Specification | length | 1.1 | Asset length. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | kilograms | 0..1 | TRUE | TRUE | FALSE
add | Base | weight | Specification | weight | 1.4 | Asset weight. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | meters | 0..1 | TRUE | TRUE | FALSE
add | Base | width | Specification | width | 1.2 | Asset width. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | m_tech_doc | Specification | manufacturer documentation | 5.2 | Manufacturer technical documentation. | StringValue | .{1,1024} |  | NONE | NONE | 0..N | TRUE | TRUE | FALSE
add | Base | tech_doc | Specification | technical documentation | 5.1 | OOI technical documentation. | StringValue | .{1,1024} |  | NONE | NONE | 0..N | TRUE | TRUE | FALSE
add | Base | assembly_stat | Status | assembly status | 1.2 | Asset assembly status. | CodeValue | [\w -_]{1,64} | set=MAM:assembly status | complete | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | perm_loc | Location | permanent storage | 1.2 | Location of permanent storage for asset. | CodeValue | [\w -_]{1,64} | set=MAM:permanent storage | University of Washington | NONE | 1..1 | TRUE | TRUE | FALSE
add | Base | loc_stat | Location | location status | 1.1 | Asset location status. | CodeValue | [\w -_]{1,64} | set=MAM:location status | LBEF | NONE | 0..1 | TRUE | TRUE | FALSE
add | Base | op_stat | Status | operability status | 1.1 | Asset operability status. | CodeValue | [\w -_]{1,64} | set=MAM:operability status | fully functioning | NONE | 0..1 | TRUE | TRUE | FALSE
add | Device | ver_firm | Specification | current firmware version | 4.1 | Current firmware version. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Device | ver_soft | Specification | current software version | 4.2 | Current software version. | StringValue | [\w - \.]{1,32} |  | NONE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Device | req_volt | Specification | voltage requirement | 3.2 | Device voltage requirement. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | volts | 0..1 | TRUE | TRUE | FALSE
add | Device | req_watt | Specification | wattage requirement | 3.3 | Device wattage requirement. | RealValue | \d*\.?\d* | min=0.00 | 0.0 | watts | 0..1 | TRUE | TRUE | FALSE
add | Instrument | instr_ser_code | Identification | instrument series code | 0.3 | Instrument series code. | CodeValue | [\w -_]{1,64} | set=MAM:instrument series code | A | meters | 0..1 | TRUE | TRUE | FALSE
add | Instrument | instr_cls_code | Identification | instrument class code | 0.2 | Instrument class code. | CodeValue | [\w -_]{1,64} | set=MAM:instrument class code | ABCDE | NONE | 0..1 | TRUE | TRUE | FALSE
add | Instrument | calb_coef | Specification | calibration coefficient | 2.2 | Instrument calibration coefficient. | RealValue | \d*\.?\d* |  | 0.0 | NONE | 0..1 | TRUE | TRUE | FALSE
add | Instrument | calb_date | Specification | calibration date | 2.3 | Instrument calibration date. | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | mm/dd/yyyy | 0..1 | TRUE | TRUE | FALSE
add | Platform | plat_typ_code | Identification | platform type code | 0.2 | Platform type code. | CodeValue | [\w -_]{1,64} | set=MAM:platform type code | Glider | NONE | 0..1 | TRUE | TRUE | FALSE
add | Platform | plat_ser_code | Identification | platform series code | 0.3 | Platform series code. | CodeValue | [\w -_]{1,64} | set=MAM:platform series code | A | NONE | 0..1 | TRUE | TRUE | TRUE

## EventAttributeSpecs
Resource ID | Action | Attribute ID | Value Type | Group Label | Attribute Label | Attribute Rank | Visibility | Description | Cardinality | Value Type | Value Pattern | Value Constraints | Default Value | UOM | Editable | Journal
Base | add | event type | CodeValue | Identification | event type | 1.1 | TRUE | Event type. | 1..1 | CodeValue | [\w -]{1,64} | set=MAM:event type | Return to Manufacturer Event | NONE | TRUE | FALSE
Base | add | event description | StringValue | Identification | event description | 1.2 | TRUE | Event description. | 1..1 | StringValue | [\w -_]{1,256} |  | NONE | NONE | TRUE | FALSE
Base | add | recording operator name | StringValue | Identification | recording operator name | 1.3 | TRUE | Name of operator recording the Event. | 1..1 | StringValue | [\w -]{1,64} |  | NONE | NONE | TRUE | FALSE
Base | add | start date | DateValue | Identification | start date | 1.4 | TRUE | Start date of event; automatically populated when event created, but can be edited by operator. | 1..1 | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | NONE | FALSE | FALSE
Base | add | end date | DateValue | Identification | end date | 1.5 | TRUE | End date of event; automatically populated when event terminates and asset returned to storage. User cannot not modify. | 0..1 | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | NONE | TRUE | FALSE
RTM | add | RTM return authorization number | StringValue | RTM | RTM return authorization number | 2.1 | TRUE | Return merchandise authorization number. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
RTM | add | RTM purchase order number | StringValue | RTM | RTM purchase order number | 2.2 | TRUE | Number of purchase order which authorizes payment for the calibration. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
RTM | add | reason for return | CodeValue | RTM | reason for return | 2.3 | TRUE | Reason for Return (e.g., repair, calibration, rejection) | 0..1 | CodeValue | [\w -_]{1,64} | set=MAM:reason for return | repair | NONE | TRUE | FALSE
Deployment | add | deployment name | StringValue | Deployment | deployment name | 3.1 | TRUE | Name of deployment | 0..1 | StringValue | [\w -]{1,64} |  | NONE | NONE | TRUE | FALSE
Deployment | add | ship name | StringValue | Deployment | ship name | 3.2 | TRUE | Ship name. | 0..1 | StringValue | [\w -]{1,64} |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment date | DateValue | Deployment | deployment date | 3.3 | TRUE | Deployment date. | 0..1 | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment time | DateValue | Deployment | deployment time | 3.4 | TRUE | Deployment time. | 0..1 | TimeValue | \d{1,2}:?\d{1,2} |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment operator name | StringValue | Deployment | deployment operator name | 3.5 | TRUE | Name of Operator who deployed the asset. | 0..1 | StringValue | [\w -]{1,64} |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment recording operator name | StringValue | Deployment | deployment recording operator name | 3.6 | TRUE | Name of Operator entering the Event information. | 0..1 | StringValue | [\w -]{1,64} |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment depth | RealValue | Deployment | deployment depth | 3.7 | TRUE | Deployment depth. | 0..1 | RealValue | \d*\.?\d* | min=0.00, max=10923.00 | NONE | NONE | TRUE | FALSE
Deployment | add | deployment latitude | StringValue | Deployment | deployment latitude | 3.8 | TRUE | Deployment latitude. | 0..1 | StringValue | [\w - \.]{1,32} |  | 0.00 | TBD | TRUE | FALSE
Deployment | add | deployment longitude | StringValue | Deployment | deployment longitude | 3.9 | TRUE | Deployment longitude. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Deployment | add | anchor drop latitude | StringValue | Deployment | anchor drop latitude | 3.10 | TRUE | Anchor drop latitude. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Deployment | add | anchor drop longitude | StringValue | Deployment | anchor drop longitude | 3.11 | TRUE | Anchor drop longitude. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Deployment | add | deployment document urls | StringValue | Deployment | deployment document urls | 3.12 | TRUE | URLs for deployment documents | 0..N | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Deployment | add | cruise number | StringValue | Deployment | cruise number | 3.13 | TRUE | Cruise number | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Repair | add | repair return authorization number | StringValue | Repair | repair return authorization number | 4.1 | TRUE | Return merchandise authorization number. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Repair | add | repair purchase order number | StringValue | Repair | repair purchase order number | 4.2 | TRUE | Number of purchase order which authorizes payment for the repair. | 0..1 | StringValue | [\w - \.]{1,32} |  | 0.00 | ? | TRUE | FALSE
Repair | add | reason for repair | StringValue | Repair | reason for repair | 4.3 | TRUE | Reason for repair. | 0..1 | StringValue | [\w -_]{1,64} |  | 0.00 | TBD | TRUE | FALSE
Inoperability | add | operability status | CodeValue | Inoperability | operability status | 5.1 | TRUE | Operability status (fully functioning, partially functioning, not functioning, unknown, suspect. | 0..1 | CodeValue | [\w -_]{1,64} | set=MAM:operability status | unknown | TBD | TRUE | FALSE
Inoperability | add | reason for inoperability | StringValue | Inoperability | reason for inoperability | 5.2 | TRUE | Reason for inoperability. | 0..1 | StringValue | [\w -_]{1,64} |  | 0.00 | TBD | TRUE | FALSE
Retirement | add | reason for retirement | StringValue | Retirement | reason for retirement | 6.1 | TRUE | Reason for retirement. | 0..1 | StringValue | [\w -_]{1,64} |  | 0.00 | TBD | TRUE | FALSE
Retirement | add | asset disposition | CodeValue | Retirement | asset disposition | 6.2 | TRUE | Disposition of asset (e.g., discard, recycle, sell, etc.) | 0..1 | CodeValue | [\w -_]{1,64} | set=MAM:asset disposition | sell | NONE | TRUE | FALSE
Integration | add | unique identifier of parent | StringValue | Integration | unique identifier of parent | 7.1 | TRUE | Unique system generated identifier for parent. | 0..1 | StringValue | [\w -_]{1,64} |  | NONE | NONE | TRUE | FALSE
Test | add | test plan number | IntegerValue | Test | test plan number | 8.1 | TRUE | Test plan number. | 0..1 | IntegerValue | \d* |  | NONE | NONE | TRUE | FALSE
Test | add | test procedure number | StringValue | Test | test procedure number | 8.2 | TRUE | Test procedure number. | 0..N | StringValue | [\w - \.]{1,32} |  | NONE | NONE | FALSE | TRUE
Test | add | test results | StringValue | Test | test results | 8.3 | TRUE | Test results (free text) | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Test | add | test notes | StringValue | Test | test notes | 8.4 | TRUE | Test notes (free text). | 0..N | StringValue | [\w - \.]{1,32} |  | NONE | NONE | FALSE | TRUE
Calibration | add | calibration return authorization number | StringValue | Calibration | calibration return authorization number | 9.1 | TRUE | Return merchandise authorization number. | 0..1 | StringValue | [\w - \.]{1,32} |  | NONE | NONE | TRUE | FALSE
Calibration | add | calibration purchase order number | StringValue | Calibration | calibration purchase order number | 9.2 | TRUE | Number of purchase order which authorizes payment for the calibration. | 0..N | StringValue | [\w - \.]{1,32} |  | NONE | NONE | FALSE | TRUE
Calibration | add | calibration coefficient | RealValue | Calibration | calibration coefficient | 9.3 | TRUE | Instrument calibration coefficient. | 0..1 | RealValue | \d*\.?\d* | min=0.00, max=3.00 | NONE | NONE | TRUE | FALSE
Calibration | add | calibration date | DateValue | Calibration | calibration date | 9.4 | TRUE | Instrument calibration date. | 0..1 | DateValue | \d{1,2}/\d{1,2}/(\d{4}¦\d{2}) |  | NONE | NONE | TRUE | FALSE

## AssetAttributes
Resource ID | Action | type | s_name | l_name | descr | prop_num | ref_desig | tech_doc | part_num | pur_inst | pur_order_num | i_prop_num | pur_date | pur_cost | dlv_order_num | dlv_date | m_name | m_part_num | m_serial_num | m_tech_doc | height | length | width | weight | depth_rating | exp_date | perm_loc | loc_stat | op_stat | assembly_stat | req_volt | req_watt | ver_firm | ver_soft | plat_typ_code | plat_ser_code | instr_cls_code | instr_ser_code | calb_coef | calb_date
Iridium SIM card | add | Iridium SIM card | Iridium SIM card | Deep violet Iridium SIM card | This Iridium SIM card is a very deep purple in color - one could almost say it is violet. | 456 | ooi reference designator | ooi-technical-documentation | OOI-PN-98765 | WHOI | WHOI 123-abc | 4040-12345-7892 | 05/01/2012 | 1000.00 | A56-104 | 06/01/2012 | General Electric | 800-230A | 12345-6756-901C | some-links | 10.0 | 15.0 | 5.0 | 120.0 | 150.0 | 06/01/2016 | Woods Hole Oceanographic Institution | LBEF | fully functioning | complete | 0.25 | 0.05 | 10.1 rev-D | 10.03.1 A
Pioneer 1 Platform | add | Platform | Pioneer 1 Platform | Pioneer 1 for Pioneer | Pioneer 1 platform for deployment | 1234-abcd | Special info for deployment only. | Assembly level design (A2-05) | OOI-PN-98765 | RSN | RSN 123-abc | 4040-12345-7892 | 05/01/2012 | 1000.00 | A56-104 | 06/01/2012 | Westinghouse | 800-230A | 12345-6756-901C | some-links | 10.0 | 15.0 | 5.0 | 120.0 | 500.0 | 06/01/2016 | University of Washington | MSB | fully functioning | complete | 0.30 | 0.10 | 10.2 rev-E | 10.03.1 B | Glider | A
SBE37SMP instrument | add | Instrument | SBE37SMP instrument | SBE37SMP instrument long name | Description of Instrument 3001 | 123 | ooi reference designator | ooi-technical-documentation | OOI-PN-98765 | UCSD | UCSD 123-abc | 4040-12345-7892 | 05/01/2012 | 1000.00 | A56-104 | 06/01/2012 | Teledyne | 800-230A | 12345-6756-901C | some-links | 10.0 | 15.0 | 5.0 | 120.0 | 300.0 | 06/01/2016 | University of San Diego | UCSD | fully functioning | complete | 0.35 | 0.15 | 10.3 rev-F | 10.03.1 C |  |  | ABCDE | B | 0.001 | 03/19/2013
Instrument 5010 | add | Instrument | Instrument 5010 | Instrument 5010 long name | Description of Instrument 5010 | 1437 | ooi reference designator | ooi-technical-documentation | OOI-PN-98765 | RSN | RSN 1010-023 | 4040-12345-7892 | 05/01/2012 | 5276.25 | RSN-156-110 | 06/04/2012 | Teledyne | 810-234A | 12435-6756-901A | some-links | 1.75 | 3.2 | 2.5 | 45.0 | 250.0 | 06/03/2016 | University of Washington | OCE | partially functioning | complete | 1.2 | 0.225 | 8.3 rev-A | 2.01.7 E |  |  | VWXYZ | A | 0.003 | 05/25/2014

## EventAttributes
Resource ID | Action | event type | event description | recording operator name | start date | end date | RTM return authorization number | RTM purchase order number | reason for return | deployment name | ship name | deployment date | deployment time | deployment operator name | deployment recording operator name | deployment depth | deployment latitude | deployment longitude | anchor drop latitude | anchor drop longitude | deployment document urls | cruise number | repair return authorization number | repair purchase order number | reason for repair | operability status | reason for inoperability | reason for retirement | asset disposition | unique identifier of parent | test plan number | test procedure number | test results | test notes | calibration return authorization number | calibration purchase order number | calibration coefficient | calibration date
ReturnToManufacturer | add | Return to Manufacturer Event | device damaged by large marine animal | Nanna Recorder | 04/10/2014 | 06/10/2014 | RTM-RAN-42 | RTM-PON-51 | repair
Deployment | add | Deployment Event | Ship out and hit the high seas! | Owen Ownerrep | 04/11/2014 | 06/10/2014 |  |  |  | ship out | voyager | 04/01/2014 | 23:00 | Mary de'ployoperator | Fred de'ploymentrecoper | 10 | deployment lat | deployment lon | anchor lat | anchor lon | http://www.helloworld.com/, http://www.hellothere.com/ | 224
Repair | add | Repair Event | Fix it | Owen Ownerrep | 04/12/2014 | 06/10/2014 | [16 empty] | RAN-1029 | PO 1200-031 | encountered large great white
Inoperability | add | Inoperability Event | Broke it | Owen Ownerrep | 04/13/2014 | 06/10/2014 | [19 empty] | unknown | eaten by large great white
Retirement | add | Retirement Event | Too old to operate correctly. | Owen Ownerrep | 04/14/2014 | 06/10/2014 | [21 empty] | Current model superceeded by fancy new model | sell
Integration | add | Integration Event | Get it together | Owen Ownerrep | 04/15/2014 | 06/10/2014 | [23 empty] | yadda-14
Test | add | Test Event | Check it out | Owen Ownerrep | 04/16/2014 | 06/10/2014 | [24 empty] | 42 | test-proc-100 | 03/10/2014 | need a bigger boat
Calibration | add | Calibration Event | Reset calibration | Owen Ownerrep | 04/17/2014 | 06/10/2014 | [28 empty] | CRAN-1042 | CPON-014 | 0.25 | 03/10/2014

## EventAssetMap
Event Resource ID | Asset Resource ID | Action | Description
Test | Pioneer 1 Platform | remove | Map Test event (category Verification) to asset 'Pioneer 1 Platform'
Test | Instrument 5010 | add | Map Test event (category Verification) to asset 'Instrument 5010'
Repair | Instrument 5010 | remove | Map Repair event (category Location) to asset 'Instrument 5010'